SCOPE 10 ЛК

Sofia, 15.05.2024

Kalabsi Ltd

Kalabsi Calibration laboratory

Management address:  1505 Sofia, 7 Neofit Bozveli Str.

Laboratory address: 1505 Sofia, 7 Neofit Bozveli Str.

To perform testing of:

| Type of the scope: Flexible for part of the scope |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Measuring instrument | Measured value, unit of measure | Measurement Range | Measurement uncertainty | Calibration method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Machines (equipment, devices and apparatus) for testing materials and products of tension / compression | Force, tension/ compression, N | from 0,5 N to 1000 N | 0,3 % | РПК 702 C 01 |
|  |  |  | from 1 kN to 1000 kN | 0,5 % |  |
|  |  |  | from 1000 kN to 2000 kN | 0,6 % |  |
| 2. | Dynamometers | Force, tension/ compression, N | from 0,5 N to 1000 N | 0,2 % | РПК 702 C 02 |
|  |  |  | from 1 kN to 1000 kN | 0,3 % |  |
|  |  |  | from 1000 kN to 2000 kN | 0,4 % |  |
| 3. | Pendulum-type impact testing machines (Charpy hammer) | Energy, J | from 0,1 J to 450 J | from 1,3 % to 0,5 % | РПК 702 E 01 |
| 4. | Torque wrenches | Torque, Nm | from 0,4 Nm to 1100 Nm | 1,0 % | РПК 702 M 01 |
| 5. | Reference hardness blocks using the method of Brinell | Hardness /the method of Brinell/ HBW | from 90 HBW to 400 HBW | 2,0 % | РПК 702 T 01 |
| 6. | Reference hardness blocks using the method of Rockwell, scales A, B and C | Hardness /the method of Rockwell/ HRA HRB HRC | from 60 HRA to 88 HRA | 0,8 HRA | РПК 702 T 01 |
|  |  |  | from 60 HRB to 100 HRB | 0,8 HRB |  |
|  |  |  | from 20 HRC to 70 HRC | 0,8 HRC |  |
| 7. | Reference hardness blocks using the method of Vickers - second level | Hardness /the method of Vickers/ HV | from 200 HV to 800 HV (from HV 1 to HV 30) | 2,0 % | РПК 702 T 01 |
| 8. | Hardness testers using the method of Brinell (stationary and portable) | Hardness /the method of Brinell/ HBW | from 90 HBW to 400 HBW | 2,0 % | РПК 702 T 02 |
| 9. | Hardness testers using the method of Rockwell, scales A, B and C (stationary and portable) | Hardness /the method of Rockwell/ HRA HRB HRC | from 60 HRA to 88 HRA | 1,0 HRA | РПК 702 T 02 |
|  |  |  | from 60 HRB to 100 HRB | 1,0 HRB |  |
|  |  |  | from 20 HRC to 70 HRC | 1,0 HRC |  |
| 10. | Hardness testers using the method of Vickers (stationary and portable) | Hardness /the method of Vickers/ HV | from 200 HV to 800 HV (from HV 1 to HV 30) | 2,0 % | РПК 702 T 02 |
| 11. | Dial gauge for length measurement | Length, m | up to 1,0 mm | 1,5 μm | РПК 702 Д 01:2023 |
|  |  |  | up to 25 mm | 3,0 μm |  |
| 12. | Line scales and measuring tapes. | Length, m | for tapes and tape measures to 5000 mm | 0,6 mm | РПК 702 Д 02:2023 |
|  |  |  | for lines to 1500 mm |  |  |
| 13. | Calipers | Length, m | up to 250 mm | 0,03 mm | РПК 702 Д 03:2023 |
| 14. | Micrometers, for 2-point external and internal dimensions | Length, m | up to 100 mm | 1,3 μm | РПК 702 Д 04:2023 |
| 15. | Pressure measuring devices | Pressure, bar | from -0,95 bar to 0 bar with air | 0,3% FS | РПК 702 H 01 :2023 |
|  |  |  | up to 2,5 bar with air | 0,1% FS |  |
|  |  |  | up to 600 bar with oil |  |  |

Flexible Scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Note:

The calibration of measuring devices to point 3 is performed at the customer's site.

The calibration of measuring devices to point 1, 2 ,4, 8, 9, 10, 11, 12, 13, 14 and 15 is performed at the customer's site and at the laboratory.

The calibration of measuring devices to point 5, 6, 7 is performed at the laboratory.

References:

- РПК 702 C 01 Calibration of systems for measuring the force of machines for testing materials and products of tension/compression (based on BDS EN ISO 7500-1);

- РПК 702 C 02 Calibration of dynamometers (based on BDS EN ISO 376);

- РПК 702 E 01 Calibration of energy measurement system for hammer bending test machines (Charpy hammer) (based on BDS EN ISO 148-2);

- РПК 702 M 01 Calibration of torque wrenches (based on BDS EN ISO 6789);

- РПК 702 T 01 Calibration of reference hardness blocks - second level by the methods of Brinell, Rockwell and Vickers (based on BDS EN ISO 6506-3, BDS EN ISO 6507-3, and BDS EN ISO 6508-3);

- РПК 702 T 02 Calibration of hardness testers by the methods of Brinell, Rockwell and Vickers (based on BDS EN ISO 6506-2, BDS EN ISO 6507-2 and BDS EN ISO 6508-2);

- РПК 702 Д 01:2023 Calibration of dial gauges for length measurement;

- РПК 702 Д 02:2023 Calibration of line scales and measuring tapes;

- РПК 702 Д 03:2023 Calibration of caliper devices;

- РПК 702 Д 04:2023 Calibration of micrometer devices;

- РПК 702 H 01:2023 Calibration of pressure measuring devices (based on EURAMET cg-17).