ORDER

№ A 344

Sofia, 31.05.2021

INSPECTION BODY OF TYPE A

at  “BONUS – MANOL NIKOLOV” SP,

town of Smolyan

Registered office: 4702 Smolyan, 18 Geo Milev Str.

Office address: 4702 Smolyan, 20 Polk. Dicho Petrov Str.

To perform inspection of:

| Type of scope: flexible* |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| № | Inspection field | Type of Inspection | Inspected parameter / characteristic |  | Testing methods / measurement, used for Inspection | Legisl. Acts, standards, specifications, schemes |
| 1 | 2 | 3 | 4 |  | 5 | 6 |
| 1. | Electrical installations and switchgears with rated voltage up to 1000V | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Loop impedance in solidly earthed systems |  | Quality Procedure 7.1-01 | Regulation N3 (SG issue 90/2004 and issue 91/2004); Regulation N16-116 (SG issue 26/2008); TS |
| 2. | Electrical installations and switchgears with rated voltage up to 1000V | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Residual current circuit breakers (RCD): - residual operating current - tripping time - contact voltage of the equipment protected by RCD |  | Quality Procedure 7.1-02 | Regulation N3 (SG issue 90/2004 and issue 91/2004); Regulation N16-116 (SG issue 26/2008); TS |
| 3. | Electrical installations and switchgears with rated voltage up to and above 1000V | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Insulation resistance |  | БДС 1986, item 3.3 a), б), д), е); Quality Procedure 7.1-03 | Regulation N3 (SG issue 90/2004 and issue 91/2004); Regulation N16-116 (SG issue 26/2008); Regulation N1 (SG issue 46/2010); TS |
| 4. | Electrical installations and switchgears with rated voltage up to and above 1000V | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Resistance of protection grounding systems |  | Quality Procedure 7.1-05 | Regulation N3 (SG issue 90/2004 and issue 91/2004); Regulation N16-116 (SG issue 26/2008); Regulation N21 (SG issue 41/2007); Rules for safety and health working on electrical equipment for rated voltage up to 1000V /ПБЗРЕН/ (SG issue3 21/2005); TS |
| 5. | Electrical installations and switchgears with rated voltage up to and above 1000V | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Resistance of lightning protection grounding systems |  | Quality Procedure 7.1-06 | Regulation N3 (SG issue 90/2004 and issue 91/2004); Regulation N16-116 (SG issue 26/2008); Regulation N21 (SG issue 41/2007); Regulation N4 (SG issue 6/2011); Regulation NРД-02-20-1 (SG issue 11/2017); TS |
| 6. | Cable electric power lines with rated voltage up to 20kV incl. | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Electrical strength of insulation via DC high voltage |  | БДС 2406 Quality Procedure 7.1-07 | Regulation N3 (SG issue 90/2004 and issue 91/2004); Regulation N16-116 (SG issue 26/2008); Regulation N9 (SG issue 72/2004); TS |
| 7. | Power transformers up to 110kV | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Insulation resistance |  | БДС 16654 Quality Procedure 7.1-04 | Regulation N16-116 (SG issue 26/2008); Requirements for testing electrical machinery and equipment /НИЕМС-1995); TS |
| 8 | Еlectrical protective equipment: |  |  |  |  |  |
| 8.1. | Insulating rods – operating rods, measuring rods, for movable earthing switches; Insulating and clamp-measuring pliers; Dielectric mattings and insulating platform; Insulating coatings (inserts) and caps | In-service | Electrical strength of insulation | Regulation N22 (SG issue 45/2006) Quality Procedure 7.1-08 |  | Regulation N22 (SG issue 45/2006) TS |
| 8.2. | Dielectric insulating gloves and boots | In-service | Electrical strength of insulation and leakage current | Regulation N22 (SG issue 45/2006) Quality Procedure 7.1-08 |  | Regulation N22 (SG issue 45/2006) TS |
| 8.3. | Voltage detector poles, Voltage phase comparator | In-service | Electrical strength of insulation; Voltage indication threshold (voltage threshold) | Regulation N22 (SG issue 45/2006) Quality Procedure 7.1-08 |  | Regulation N22 (SG issue 45/2006) |
| 9. | Insulating liquids | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Breakdown voltage at power frequency | БДС EN 60156 Quality Procedure 7.1-09 |  | Regulation N16-116 (SG issue 26/2008); TS |
| 10. | Ventilation systems | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Velocity of air flow; Volumetric flow rate | БДС 12.3.018 Quality Procedure 7.1-10 |  | Regulation N15 (SG issue 68/2005); Regulation N24 (SG issue 95/2003); TS |
| 11. | Artificial lighting at the workplace and residential buildings | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Illumination | Methodical instructions 40-85 “Methods for measuring and evaluating artificial lighting” ed. "Standardization" Quality Procedure 7.1-12 |  | Regulation N49 (SG, issue 7/1976) Regulation N9 (SG, issue 46/1994) Regulation N24 (SG, issue 95/2003) Regulation N2 (SG, issue 15/2007) Regulation N3 (SG, issue 15/2007) Regulation N26 (SG, issue 103/2008) Regulation N28 (SG, issue 109/2008) Regulation N РД-02-20-3 (SG, issue 5/2016) БДС EN 12464-1 TS |
| 12. | Microclimate at the workplace and public buildings | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Air temperature; relative humidity; air velocity | Regulation N РД-07-3 (SG, issue 63/2014); БДС 16686; Quality Procedure 7.1-13 |  | Regulation N 9 (SG issue 46/1994); Regulation N24 (SG, issue 95/2003); Regulation N2 (ДВ 15/2007); Regulation N3 (SG, issue 15/2007); Regulation N26 (SG, issue 103/2008); Regulation N РД-07-3 (SG issue 63/2014); БДС 14776; TS |
| 13. | Noise |  |  |  |  |  |
| 13.1 | Noise at the workplace | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Daily level of noise exposure; Average weekly noise exposure level; Level of peak sound pressure; Noise level; Equivalent noise level | БДС ISO 9612 (БДС ISO 1999) БДС 15471 Quality Procedure 7.1-14 |  | Regulation N7 (SG, issue 88/1999) Regulation N6 (SG, issue 70/2005) Regulation N9 (SG, issue 46/1994) Regulation N26 (SG, issue 103/2008) TS |
| 13.2 | Noise in the premises of residential and public buildings | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Noise level; Equivalent noise level | БДС 15471 Quality Procedure 7.1-18 |  | Regulation N9 (SG, issue 46/1994) Regulation N24 (SG, issue 95/2003) Regulation N2 (SG, issue 15/2007) Regulation N26 (SG, issue 103/2008) Regulation N6 (SG, issue 58/2006 – att.N2, table 1) Regulation N РД-02-20-3, art.266, para.1, item 7 (SG, issue 5/2016) TS |
| 14. | Vibrations at the workplace | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Daily value of the arm-shoulder system exposure | БДС EN ISO 5349-1 БДС EN ISO 5349-2 Quality Procedure 7.1-16 |  | Regulation N3 (SG, issue 40/2005) TS |
|  |  |  | Daily value of the whole body exposure; | БДС ISO 2631-1 Quality Procedure 7.1-16 |  | Regulation N3 (SG, issue 40/2005) TS |
| 15. | Vibrations at the residential premises | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | RMS vibration acceleration in octave bands with average -geometric frequencies | Regulation N9 (SG, issue 17/2010) Quality Procedure 7.1-17 |  | Regulation N9 (SG, issue 17/2010) TS |
| 16. | Electrochemical (cathodic) protection against corrosion of underground metal structures | Initial Inspection and/or In-service Inspection of Facilities/ Equipment | Stationary (established) potential; Potential of galvanic anodes; Total polarization potential; Polarization potential; Transient resistance of the insulating coating by the method of “СP”; Anode grounding resistance; Potential difference between underground metal structures; Soil resistivity (specific electrical resistance of the soil) | БДС 15705 БДС EN 13509 Quality Procedure 7.1-15 |  | БДС 15704 TS |

* The introduction of a new version of standards/documents or standards/documents replacing them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the Conformity Assessment Body (CAB).

Regulation N3 (SG issue 90/2004 and issue 91/2004) on the structure of electrical installation and power lines;

Regulation N16-116 (SG issue 26/2008) on technical operation of energy equipment;

Regulation N1 (SG issue 46/2010) for the design, construction and maintenance of low voltage electrical installations in buildings;

Regulation N21 (SG issue 41/2007) on the rules for construction of mobile telecommunication networks and facilities;

Rules for safety and health working on electrical equipment with rated voltage up to 1000V /ПБЗРЕН up to 1000V/ (SG issue 21/2005);

Regulation N4 (SG issue 6/2011) on lightning protection of buildings, outdoor installations and open spaces;

Regulation N РД-02-20-1 (SG issue 11/2017) on planning and design of constructions intended for production, storage and trade of weapons, ammunition, explosives and pyrotechnic articles;

Regulation N9 (SG issue 72/2004) on technical operation of power plants and networks;

Requirements for testing electrical machinery and equipment /НИЕМС-1995 /;

Regulation N22 (SG issue 45/2006) on testing of electrical protective equipment in-service;

Regulation N15 (SG issue 68/2005) on technical rules and regulations for design, construction and operation of sites and facilities for production, transmission and distribution of heat energy;

Regulation N24 (SG issue 95/2003) on the sanitary and hygiene requirements for discos.

Regulation N49 (SG issue 7/1976) on artificial lighting of buildings

Regulation N9 (SG issue 46/1994) on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students.

Regulation N2 (SG issue 15/2007) on the health requirements to the computer and internet halls for public use.

Regulation N3 (SG issue 15/2007) on the health requirements to kindergartens.

Regulation N26 (SG issue 103/2008) for the design and operation of nurseries and children's kitchens and health requirements for them

Regulation N28 (SG issue 109/2008) on the structure and organization of work of pharmacies and the nomenclature of medicinal products;

Regulation N РД-02-20-3 (SG issue 5/2016) for design, implementation and maintenance of public service buildings in the range of education and science, healthcare, culture and arts;

Regulation N РД-07-3 (SG issue 63/2014) on the minimum requirements regarding microclimate at the workplace.

Regulation N7 (SG issue 88/1999) on the minimum requirements for healthy and safe working conditions at workplaces and when using work equipment;

Regulation N6 (SG, issue 70/2005) on the minimum requirements for health and safety of the employees working exposed to noise;

Regulation N6 (SG issue 58/2006) on environmental noise indicators, taking into account the degree of discomfort during the different parts of the day, the limit values of environmental noise indicators, the methods for assessing the values of noise inductors and the harmful effects of noise on the health of the population.

Regulation N3 (SG, issue 40/2005) on the minimum requirements for health and safety of the employees working exposed to vibrations;

Regulation N9 (SG issue 17/2010) for the maximum permissible values of vibration in residential premises;

TS - Customer’s technical specification.