SCOPE 313 ОКС

TYPE C INSPECTION BODY

at COMMUNICATION CONSTRUCTION AND RECONSTRUCTION JSC, Sofia

Management and office address: 1853, town of Sofia, Chelopechene Quarter

To perform inspections of the following scope:

| Type of scope: fixed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection, Inspection Procedure | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Electrical equipment and structures up to 1000V | For new /or operational working equipment and structures | Resistance of grounding of protective grounding structures | M 07.01.02, ver.03/20.03.2020 | Regulation №. 3 (State Gazette, issue № 90 and 91/2004, amended in State Gazette, issue №. 42/2015) Regulation №. 16-116 (State Gazette, issue №. 26/2008, amended in State Gazette, issue №. 42/2015) |
|  |  |  | Resistance of grounding of lighting protection grounding structures | M 07.01.02, ver.03/20.03.2020 | Regulation №. 16-116 (State Gazette, issue №. 26/2008, amended in State Gazette, issue №. 42/2015) Regulation №. 4 (State Gazette, issue №. 6/2011) |
|  |  |  | Resistance of insulation | БДС 1986:1982 • item 3.3 a), b), e), M 07.01.04, ver.4/ 20.03.2020 | Regulation №. 3 (State Gazette, issue №. 90 and 91/2004, amended in State Gazette, issue №. 42/2015) Regulation №. 16-116 (State Gazette, issue №. 26/2008, amended in State Gazette, issue №. 42/2015) |
|  |  |  | Impedance of loop phase - protective conductor | M 07.01.03, ver.03/ 20.03.2020 | Regulation №. 3 (State Gazette, issue №. 90 and 91/2004, amended in State Gazette, issue №. 42/2015) Regulation №. 16-116 (State Gazette, issue №. 26/2008, amended in State Gazette, issue №. 42/2015) |
| 2. | Telecomm unication equipment and structures | For new /or operational working equipment and structures | Electrical resistance | БДС 9483:1989 M 07.01.04, ver.4/ 20.03.2020 | БДС 5052:1990 БДС 9096:1983 BTC Technical requirements for residential settlements and communication cables - 2002 |
|  |  |  | Resistance of asymmetry of cable wires | БДС 9483:1989 M 07.01.04, ver.4/ 20.03.2020 | БДС 5052:1990 БДС 9096:1983 BTC Technical requirements for residential settlements and communication cables - 2002 |
|  |  |  | Operational capacity | БДС 9483:1989 M 07.01.05, ver.03/20.03.2020 | БДС 5052:1990 БДС 9096:1983 BTC Technical requirements for residential settlements and communication cables - 2002 |
|  |  |  | Resistance of insulation | БДС 1986:1982, т. 3.3 а), б), д), e) M 07.01.04, ver.4/ 20.03.2020 | БДС 5052:1990 БДС 9096:1983 BTC Technical requirements for residential settlements and communication cables - 2002 |
| 3. | Optic cable line | For new /or operational working equipment and structures | General dimming of optic cable line | БДС EN 60793-1-40:2019 БДС EN 61280-4-2:2014 БДС EN 61280-1-1:2013 M 07.01.01, ver. 4/20.03.2020г. | BTC - Instructions for construction of optic cable lines - 2004 БДС EN IEC61753- 1:2018/A 1:2020 |
|  |  |  | Dimming of welding and optic connections of the optic cable line | БДС EN 60793-1-40:2019 БДС EN 61280-4-2:2014 БДС EN 61280-1-1:2013 M 07.01.01, version 04/20.03.2020 г. | BTC - Instructions for construction of optic cable lines – 2004 БДС EN IEC 61753- 1:2018/A 1:2020 |
|  |  |  | Losses from reflection of optic connections | БДС EN 60793-1-40:2019 БДС EN 61300-3-6:2009 M 07.01.01, version 04/20.03.2020 г. | BTC - Instructions for construction of optic cable lines - 2004 |

Regulation № 3 on the structure of electrical installations and electrical conductor lines (State Gazette, issue 90 and 91/2004, rev.42/2015)

Regulation № 4 on the lightning protection of buildings, external installation and outdoor areas (State Gazette, issue 6/2011)

Regulation № 16-116 on the technical operation of electrical equipment (State Gazette, issue 26/2008, rev.42/2015)

Instruction for construction of optical cable lines (BTC- Scientific Institute for

Communication Research (S1CR) 2004)

Technical requirements for residential settlement communication cables (BTC -2002)